## Sheet1
Date | User last name | User advisor | Additional Users | Aqualog "on" Time | Aqualog "off" Time | Starting Lamp Hours | Ending Lamp Hours | Lamp Scan Peak (nm) | Sealed Blank Peak | Sealed Blank Height | Sealed Blank Area | House Blank Peak | House Blank Height | House Blank Area | Notes
2021-03-24 | Goeckner | Reisinger | Velasquez | 7:50 | 16:28 | 48 | 54 | 468 | 395.5 | 353.8 | 4097.9 | 396 | 353.9 | 4514.7
2021-03-26 | Goeckner | Reisinger |  | 11:40 | 15:08 | 56 | 59 | 467.9 | 396 | 3503.9 | 40612.4 | 396 | 3628.1 | 46294
2021-03-29 | Howley | Reisinger, L | Goeckner | 9:39 | 10:54 | 59 | 60 | 468 | 396 | 3479.65 | 40589.2 | 396 | 3513.2 | 41446.1 | Practice run
2021-03-30 | Goeckner | Reisinger |  | 8:29 | 12:27 | 61 | 64 | 467.9 | 395.5 | 3491.2 | 40730.3 | 396 | 3471.2 | 40888.5
2021-03-31 | Goeckner | Reisinger | Holwey | 8:17 | 11:25 | 64 | 68 | 468.1 | 396 | 3487.8 | 40535.3 | 396 | 3571.1 | 45393.5
2021-04-01 | Goeckner | Reisinger |  | 12:17 | 16:13 | 68 | 71 | 468 | 396 | 3486.4 | 40651 | 396 | 3490.5 | 41410.9
2021-04-02 | Goeckner | Reisinger |  | 8:48 | 11:48 | 72 | 74 | 468 | 396 | 3467.9 | 40648.5 | 396 | 3543.2 | 42114.6
2021-04-07 | Howley | Reisinger, L | Goeckner | 7:15 | N/A | 75 | N/A | 467.9 | 396 | 3438.5 | 40312.8 | 396 | 3530.2235 | 42729.2
2021-04-07 | Taylor | Reisinger | Huth | 7:15 |  | 79 |  | 468 | 396 | 3436.4432 | 40047.068 | 396 | 3545.6381 | 42733.758
2021-04-08 | Howley | Reisinger, L |  | 8:05 | N/A | 84 |  | 467.9 | 396 | 3484.7 | 40284.7 | 396 | 3522.4 | 41689.96
2021-04-08 | Howley | Reisinger, L | Goeckner | 1:05 | 15:07 | 89 | 91 | 468 | 396 | 3465.4 | 40338.4 | 396 | 3653.4 | 48063.6
2021-04-09 | Howley | Reisinger, L |  | 7:42 | 11:54 | 91 | 95 | 468 | 396 | 3412.9 | 39921.4 | 396 | 3486.7 | 41660.4
2021-04-12 | Howley | Reisinger, L |  | 7:40 | 12:40 | 95 | 100 | 468 | 396 | 3474.4 | 40064.2 | 396 | 3452.7 | 41297.3
2021-04-16 | Huth | Reisinger |  | 11:50 | 15:28 | 100 | 103 | 467.67 | 396 | 3460.619 | 40375.165 | 396 | 3461.4575 | 40667.119
2021-05-13 | Huth | Reisinger |  | 10:15 | 16:03 | 104 | 109 | 467.9 | 396 | 3438.291 | 39807.308 | 396 | 3423.282 | 40257.774
2021-05-17 | Taylor | Resinger | Colopietro | 10:20 | 15:54 | 110 | 114 | 468 | 369 | 3419.4066 | 39940.604 | 396 | 3453.4547 | 40839.626
2021-05-18 | Huth | Reisinger |  | 9:40 | 16:00 | 115 | 121 | 468.1 | 396 | 3407.6899 | 39896.503 | 396 | 3501.7235 | 43791.501
2021-05-24 | Taylor | Reisinger | Colopietro | 10:30 | 18:15 | 122 | 123 | 468 | 396 | 3413.8995 | 39811.004 | 396 | 3433.6151 | 40186.306
2021-05-25 | Huth | Reisinger |  | 10:20 | 13:50 | 129 | 132 | 467.878 | 396 | 3417.9333 | 39984.417 | 396 | 3425.4341 | 40188.738
2021-06-01 | Huth | Reisinger |  | 9:40 | 14:33 | 132 |  | 467.3628 | 396 | 3392.1299 | 39378.078 | 396 | 3369.6848 | 39826.448 | First actual sample (not a blank) gave a strange error message that read out "Exception: Value of '-392' is not valid for 'Value' …" After looking at the data, there didn’t seem to be a problem with the actual results. Might be a memory issue or just a glitch.
2021-06-03 | Goeckner | Reisinger |  | 9:10 | 17:16 | 123 | 145 | 468 | 396 | 3432.5 | 39962.6 | 396 | 3434.1 | 40360.6
2021-06-04 | Goeckner | Reisinger |  | 9:00 | 17:10 | 146 | 153 | 468 | 396 | 3399.6 | 40151.6 | 396 | 3416.9 | 40396.6
2021-06-07 | Taylor | Reisinger | Colopietro | 9:50 | 18:11 | 153 | 161 | 467 | 396 | 3360.4407 | 39418.983 | 396 | 3400.8931 | 39724.042
2021-06-08 | Goeckner | Reisinger | Schreiber | 8:00 | 17:51 | 162 | 171 | 467.9 | 396 | 3327.3 | 39116.7 | 396 | 3357.0861 | 39604.24
2021-06-09 | Goekcner | Resinger | Schreiber | 8:09 | 16:49 | 171 | 179 | 468.02 | 396 | 3386.3247 | 39386.082 | 396 | 3432.6983 | 39949.732
2021-06-10 | Goeckner | Reisinger | Schreiber | 8:08 | 15:50 | 179 | 187 | 467.989 | 396 | 3445.9787 | 40193.067 | 396 | 3436.9758 | 41089.429
2021-06-11 | Goeckner | Reisinger | Schreiber | 10:00 | 17:00 | 188 | 194 | 467.96 | 396 | 3429.935 | 39957.657 | 396 | 3442.1594 | 39920.973
2021-06-15 | Huth | Reisinger | Schoenberger | 9:40 | 14:28 | 194 | 198 | 467.3628 | 396 | 3314.3215 | 38715.902 | 396 | 3372.8945 | 39340.559
2021-06-16 | Howley | L. Reisinger | Holder | 7:56 | 14:30 | 198 | 205 | 467.98 | 396 | 3303.98 | 39004.98 | 396 | 3364.2564 | 40997.496
| Howley | L. Reisinger |  | 9:20 | 16:22 | 205 | 212 | 467.99 | 396 | 3212.78 | 37800.082 | 396 | 3411.69 | 45125.94
|  |  |  | 8:40 |  | 212 | 218 | 468.02 | 396 | 3189.6048 | 37375.477 | 396 | 3463.4975 | 52442.174
2021-07-12 | Huth | Resinger |  | 11:30 | 15:00 | 219 | 222 | 468.062 | 396 | 3237.5771 | 37774.097 | 396 | 3246.395 | 38122.094
| Howley | L.Reisinger |  | 8:51 | 15:00 | 222 | 228 | 467.99 | 396 | 9812.196 | 115340.16 | 396 | 2493.1106 | 28783.565
|  |  |  | 9:15 | 15:03 | 228 | 233 | 468.002 | 396 | 9939.2479 | 116594.85 | 396 | 2508.3417 | 29349.871
|  |  |  | 8:50 | 2:21 | 233 | 239 | 468.007 | 396 | 9991.2369 | 116713.58 | 396 | 10223.126 | 126545
2021-07-22 | Huth | Resinger |  | 11:30 | 3:04 | 239 |  | 467.957 | 396 | 3274.685 | 38224.997 | 396 | 3267.4493 | 38572.931
2021-07-26 | Goeckner | Cohen | Yuseung Shin | 9:00 | 11:15 | 243 | 244 | 468.02 | 396 | 3276.5 | 38528 | 396 | 3324.4 | 40115.5
2021-08-05 | Siders | Reisinger |  | 12:30 |  | 245 |  |  | 396 | 3247.33 | 38324 | 396 | 3298.64 | 39193.4
2021-08-09 | Howley | L.Reisinger |  | 12:12 | 18:32 | 248 | 254 | 468.009 | 396 | 3223.6376 | 37758.153 | 396 | 3228.2754 | 37654.16
2021-08-13 | Siders | Reisinger |  | 8:15 | 13:49 | 255 | 260 | 467.9 | 396 | 3316.75 | 38707.8 | 369.5 | 3563.5411 | 47057.832
2021-08-08 | Goeckner | Reisinger |  | 10:40 | 16:30 | 260 | 265 | 468 | 396 | 3292.6 | 38453.1 | 396 | 3433.3 | 44152.9
2021-08-19 | Howley | Reisinger |  | 9:10 | 17:07 | 265 | 274 | 468 | 396 | 10041.467 | 118176.05 | 396.5 | 2599.109 | 32161.72
2021-08-20 | Howley | Reisinger |  | 9:29 | 13:47 | 274 | 278 | 468 | 396 | 10069.737 | 117874.03 | 396.5 | 857.44 | 10414.357
2021-08-23 | Goeckner | Reisinger |  | 9:00 | 16:20 | 279 | 285 | 467.98 | 396 | 3351.2 | 39532.9 | 396 | 3376.1 | 39819.2
2021-08-25 | Goeckner | Reisinger |  | 9:40 | 15:25 | 286 | 291 | 468 | 396 | 3370.8 | 39404.4 | 396 | 3431.6 | 40754.6
2021-08-30 | Amaral | Morrison |  | 9:57 | 12:10 | 291 | 293 | 467.97 | 396 | 3321.2 | 38888.5 | 396 | 3442.2 | 43833.9
2021-08-31 | Amaral | Morrison |  | 13:41 | 16:18 | 293 | 296 | 467.99 | 396 | 3339.6 | 38728.6 | 396 | 3390.2 | 41138.1
2021-09-02 | Huth | Reisinger |  | 12:00 | 15:30 | 296 | 299 | 468.09 | 396 | 3312.83 | 38958.39 | 396 | 3371.01 | 40224.73
2021-09-10 | Huth | Reisinger |  | 9:50 | 14:08 | 300 |  | 468.0959 | 396 | 3321.85 | 38963.2 | 396 | 3373.3694 | 39893.518 | gnats in cuvette storage
2021-09-13 | Howley | Reisinger |  | 13:00 | 15:39 | 304 | 306 | 468.04 | 396 | 10172.794 | 118707.88 | 396.5 | 2567.7 | 29228.967
2021-09-27 | Muni-Morgan | Lusk |  | 10:15 | 13:30 | 308 | 309 | 467.97 | 396 | 3436.5 | 39916.6 | 396 | 3416.1 | 41080.1
2021-09-28 | Amaral | Morrison |  | 9:30 | 19:26 | 310 | 319 | 468 | 396 | 3378.9 | 39417.1 | 396 | 3436.1 | 41197.3
2021-10-12 | Schreiber | Reisinger | Goeckner | 12:45 | 15:50 | 319 |  | 468.1 | 396 | 3364.4 | 39330.7
2021-10-19 | Amaral | Morrison |  | 9:43 | 12:50 | 323 | 325 | 468 | 396 | 3421.2 | 39781.7 | 396 | 3382.4 | 40063.9
2021-10-27 | Amaral | Morrison |  | 9:18 | 11:51 | 326 | 328 | 468 | 396.5 | 3362.9 | 39455.1 | 396 | 3412.3 | 39922.3
2021-11-17 | Amaral | Morrison |  | 10:05 | 17:00 | 328 | 335 | 468 | 396 | 3413.5 | 39739.2 | 396 | 3457.9 | 41330.3
2021-12-10 | Schreiber | Reisinger | Goeckner | 10:15 | 14:51 | 335 | 339 | 468.01 | 396.5 | 3409.2 | 40165.6 | 396 | 3435.687 | 40943.749
2022-01-18 | Taylor | Reisinger |  | 12:30 | 19:30 | 340 | 346 | 468 | 396 | 3432.9563 | 40143.85 | 396 | 3477.2969 | 40541.25 | SNR & Emission Calibration done | Pass; SNR Intensity 51899
2022-01-26 | Lusk | Lusk | Goeckner | 10:15 | 15:39 | 347 | 351 | 467.98 | 396.5 | 3418.49 | 40045.192 | 396.5 | 3468.4 | 42717.2
2022-01-27 | Taylor | Reisinger |  | 9:50 | 16:53 | 352 | 358 |  | 396.5 | 3448.4541 | 40114.294 | 396 | 3442.2369 | 40678.894
2022-02-07 | Amaral | Morrison |  | 9:43 | 16:51 | 359 | 366 | 468 | 396.5 | 3396.2 | 39636.3 | 396.5 | 3406.9 | 41375.9
2022-02-08 | Amaral | Morrison |  | 10:20 | 17:36 | 366 | 373 | 468 | 396 | 3355.6 | 39435.7 | 396.5 | 3401.7 | 40441.1
2022-02-11 | Champiny | Lin | Goeckner | 9:00 | 13:20 | 373 | 377 | 467.8 | 396.5 | 3413 | 39531.9 | 396.5 | 3394.5 | 39969.9
2022-04-07 | Lee | Morrison |  | 9:00 | 12:15 | 382 | 385 | 468 | 396.5 | 3296.1262 | 38582.928 | 396.5 | 3395.6085 | 42938.682
2022-04-07 | Muni-Morgan | Lusk |  | 9:00 | 16:00 | 385 | 388 | 468 | 396.5 | 3387.1 | 39715 | 396.5 | 3375.3 | 40147.1
2022-04-08 | Lee | Morrison |  | 9:30 | 13:00 | 388 | 391 | 468 | 396.5 | 3357.933 | 39393.633 | 396 | 3372.5852 | 39578.02
2022-04-25 | Goeckner | Reisinger | Schreiber | 10:00 | 14:10 | 392 |  | 467.9 | [6 empty] | Excel was not saved so we lost the peak and area data but it looked good.
2022-06-07 | Lee | Morrison |  | 11:00 | 13:00 | 395 | 397 | 468 | 396.5 | 3231.1229 | 38010.489 | 396.5 | 3283.9999 | 39066.905
2022-06-09 | Lee | Morrison |  | 10:50 | 12:30 | 398 | 399 | 468 | 396.5 | 3232.1707 | 38472.843 | 396 | 3262.8256 | 38354.093
2022-06-10 | Lee | Morrison |  | 11:00 | 12:00 | 399 | 400 | 468 | 396 | 3237.654 | 38166.417 | 396.5 | 3209.644 | 38084.638
2022-06-16 | Lee | Morrison |  | 15:30 | 17:00 | 400 | 402 | 468 | 396.5 | 3175.0431 | 37177.153 | 396 | 3224.0724 | 38761.099
2022-06-23 | Amaral | Morrison |  | 10:32 | 17:48 | 402 | 409 | 468 | 396.5 | 3290.4 | 38410.5 | 396 | 3925.9 | 39222.7
2022-07-11 | Lee | Morrison |  | 10:32 | 13:00 | 409 | 411 | 468 | 396 | 3173.7696 | 36962.177 | 396 | 3163.8022 | 37346.819
2022-07-14 | LEE | Morrison |  | 10:25 | 13:30 | 411 | 414 | 468 | 396.5 | 3182.1759 | 37257.415 | 396 | 3200.0069 | 37364.921
2022-07-18 | Amaral | Morrison |  | 10:30 | 17:21 | 414 | 422 | 467.99 | 396.5 | 3351.3 | 39345.8 | 396.5 | 3348.8 | 40224.2
2022-07-19 | Amaral | Morrison |  | 9:15 | 13:10 | 422 | 426 | 467.99 | 396.5 | 3364.7 | 39310.7 | 396 | 3936.9 | 51401
2022-07-28 | Goeckner | Reisinger |  | 10:20 | 17:02 | 425 | 432 | 468 | 396.5 | 3349.3 | 38713.8 | 396.5 | 3357.9 | 39590
2022-08-02 | Amaral | Morrison |  | 9:48 | 16:09 | 432 | 439 | 468 | 396.5 | 3377.6 | 39662.2 | 396.5 | 3524.9 | 45040.8
2022-08-03 | Goeckner | Reisinger |  | 9:40 | 15:45 | 439 | 445 | 468 | 396.5 | 3382.6 | 39614.6 | 396 | 3391.2 | 40158.9
2022-08-09 | Lee | Morrison |  | 13:30 | 15:00 | 445 | 446 | 468 | 396.5 | 3363.8132 | 39612.728 | 396.5 | 3385.8074 | 39583.602
2022-08-16 | Amaral | Morrison |  | 14:31 | 17:07 | 446 | 449 | 468 | 396.5 | 3390.9 | 39814 | 396.5 | 3441 | 42995.4
2022-08-24 | Amaral | Morrison |  | 13:24 | 15:11 | 449 | 451 | 468 | 396.5 | 3414.9 | 39770.8 | 396.5 | 3390.5 | 40343.7
2022-08-26 | Goeckner | Reisinger | Schreiber | 9:40 | 16:32 | 451 | 457 | 468 | 396.5 | 3324 | 39119.1 | 396.5 | 3399.67 | 39787.4
2022-09-02 | Chappel | Morrison |  | 7:57 | 11:19 | 457 | 461 | 467.99 | 395.5 | 3389.6 | 39504.4 | 396.5 | 3390.4 | 40464.7
2022-09-06 | Amaral | Morrison |  | 9:50 | 16:57 | 461 | 468 | 468 | 396.5 | 3364.1 | 39202.9 | 396.5 | 3410.1 | 40893.6
2022-09-13 | Lee | Morrison |  | 11:18 | 12:36 | 468 | 468 | 468 | 396 | 3255.5842 | 38127.379 | 396 | 3293.5085 | 38511.238
2022-09-16 | Goeckner | Reisinger | Schreiber | 12:10 | 16:28 | 469 | 473 | 468 | 396.5 | 3333.99 | 39777.45 | 396.5 | 3376.31 | 41298.54
| Goeckner | Reisinger | Schreiber | 2:10 | 5:30 | 474 | 477 | 468 | 396.5 | 3377.7 | 39551.4 | 396.5 | 3456.06 | 41204.2
2022-10-07 | Amaral | Morrison |  | 9:50 | 14:11 | 477 | 481 | 468 | 396.5 | 3375.15 | 39349.3 | 396.5 | 3422.4 | 41616.2
2022-10-12 | Lee | Morrison |  | 16:00 | 18:17 | 481 | 483 | 468 | 396.5 | 3341.6995 | 38603.081 | 396.5 | 3354.8423 | 39218.692
2022-10-13 | Amaral | Morrison |  | 13:45 | 17:13 | 483 | 487 | 468 | 396.5 | 3365.6 | 396082 | 396.5 | 3458.6 | 43134.4
2022-10-14 | Shin | Cohen | Hugo | 10:28 | 12:54 | 487 | 487 | 468 | 396.5 |  |  | 396.5 | 3428.9979 | 42264.466
2022-10-19 | Lee | Morrison |  | 15:00 | 16:30 | 487 | 491 | 468 | 396.5 | 3397.3262 | 39529.09 | 396.5 | 3380.0036 | 39671.086
2022-10-21 | Shin | Cohen |  | 10:31 | 13:10 | 491 | 493 | 468 | 396.5 | 3423.9477 | 42101.662 | 396 | 3417.5155 | 43891.435
2022-10-24 | Goeckner | Reisinger | Schreiber | 10:45 | 14:13 | 494 | 497 | 468 | 396.5 | 3382.9631 | 39918.729 | 396.5 | 3402.1898 | 40007.42
2022-10-28 | Shin | Cohen |  | 10:33 | 14:00 | 497 | 501 | 468 | 396.5 | 3307.2504 | 38843.739 | 396.5 | 3376.5378 | 41444.724
2022-10-28 | Lee | Morrison |  | 16:00 | 17:00 | 502 | 503 | 468 | 396.5 | 3404 | 39786.875 | 396.5 | 3423.548 | 40022.716
2022-11-02 | Shin | Cohen |  | 10:36 | 12:48 | 503 | 505 | 468 | 396.5 | 3331.4216 | 40179.66 | 396.5 | 3351.6417 | 40661.197
2022-11-04 | Shin | Cohen |  | 10:08 |  | 505 | 507 | 468 | 396.5 | 3348.7963 | 40737.574 | 396.5 | 3381.4763 | 42887.363
2022-11-07 | Amaral | Morrison |  | 8:20 | 12:24 | 507 | 511 | 468 | 396.5 | 3300.6 | 38782 | 396.5 | 3400.3 | 40202.4
2022-11-08 | Goeckner | Reisinger | Schreiber | 12:20 | 15:42 | 511 | 515 | 468 | 396.5 | 3351.7 | 40310.8 | 396.5 | 3383.8 | 40126.1
2022-11-09 | Lee | Morrison |  | 10:52 | 12:33 | 515 | 516 | 468 | 396.5 | 3311.662 | 38489.801 | 396.5 | 3312.9492 | 38708.716
| Amaral | Morrison |  | 12:45 | 17:25 | 516 | 521 | 468 | 396.5 | 3377.9 | 39491.5 | 396.5 | 3470 | 44575.4
2022-11-15 | Shin | Cohen |  | 10:25 | 12:50 | 521 | 523 | 468 | 396.5 | 3285.121 | 38785.68 | 396.5 | 3382.045 | 42431.672
2022-11-16 | Amaral | Morrison |  | 8:25 | 15:00 | 523 | 530 | 468 | 396.5 | 3304.3 | 39029.5 | 396.5 | 3354.9 | 40250.5
| Amaral | Morrison |  | 10:00 | 13:04 | 530 | 533 | 468 | 396.5 | 3304.3 | 39029.5 | 396.5 | 3354.9 | 40250.5
2022-11-18 | Goeckner | Reisinger |  | 8:30 | 10:01 | 533 | 535 | 468 | 396.5 | 3329.3 | 39075.4 | 396.5 | 3367.8 | 41257.3
2022-11-18 | Shin | Cohen |  | 10:30 | 12:33 | 535 | 537 | 468 | 396.5 | 3427.7176 | 42454.55 | 396.5 | 3438.6519 | 43066.567
2022-11-19 | Gaddy | Bianchi/Morrison |  | 2:00 | 5:00 | 537 | 540 | 468 | 396.5 | 3403.5 | 41324.5 | 396.5 | 3355.3 | 39240.2
2022-11-20 | Gaddy | Bianchi/Morrison |  | 5:00 | 8:00 | 540 | 543 | 468 | 396.5 | 3342.04 | 38756.6 | 396.5 | 3356.7 | 41386.3
2022-11-21 | Amaral | Morrison |  | 8:56 | 13:15 | 544 | 548 | 468 | 396.5 | 3336.9 | 39059.6 | 396.5 | 3372.5 | 39517.9
2022-11-22 | Shin | Cohen |  | 10:10 |  | 548 | 550 | 468 | 396.5 | 3319.6387 | 38960.721 | 396.5 | 3336.5579 | 40987.306
2022-12-01 | Amaral | Morrison |  | 18:43 | 22:00 | 550 | 553 | 468 | 396.5 | 3349.1 | 39092.9 | 396.5 | 3423.3 | 42721.9
2022-12-08 | Amaral | Morrison |  | 9:08 | 17:11 | 553 | 561 | 468 | 396.5 | 3331.8 | 39050.7 | 396.5 | 3356.2 | 39509.6
2022-12-09 | Amaral | Morrison |  | 7:24 | 9:25 | 561 | 563 | 468 | 396.5 | 3327.4 | 38608.7 | 396.5 | 3323.1 | 40080.9
2022-12-12 | Goeckner | Reisinger |  | 9:15 | 12:53 | 563 | 567 | 468 | 396.5 | 3295.7 | 38583.9 | 396.5 | 3309.7 | 38736.314
2022-12-21 | Goeckner | Reisinger |  | 8:37 | 9:51 | 567 | 568 | 468 | 396.5 | 3317.4 | 38716.8 | 396.5 | 3294.6 | 38920.2
2022-12-21 | Lee | Morrison |  | 1:56 | 3:30 | 568 | 570 | 468 | 396.5 | 3347.3643 | 39078.634 | 396.5 | 3361.4168 | 39279.564
2023-01-06 | Lee | Morrison |  | 11:47 | 13:00 | 571 | 572 | 468 | 396.5 | 3346.8415 | 39377.13 | 396.5 | 3343.2771 | 39700.032
2023-01-13 | Shin | Cohen |  | 10:49 | 12:50 | 572 | 574 | 468 | 396.5 | 3339.7403 | 41216.191 | 396.5 | 3405.3642 | 44643.256
2023-01-20 | Shin | Cohen |  | 10:42 | 12:30 | 574 | 576 | 468 | 396.5 | 3301.1887 | 40184.011 | 396.5 | 3385.4481 | 43805.527
2023-01-27 | shin | Cohen |  | 11:08 | 12:20 | 576 | 577 | 468 | 396.5 | 3329.1088 | 41189.06 | 396.5 | 3405.5963 | 43372.88
2023-02-10 | Lee | Morrison |  | 1:50 | 3:00 | 578 | 578 | 468 | 396.5 | 3350.9026 | 39307.185 | 396.5 | 3400.2258 | 42088.877
2023-02-22 | Goeckner | Reisinger | Schreiber | 10:30 | 15:40 | 579 | 583 | 468 | 396.5 | 3313.5 | 38913.488 | 396.5 | 3423.01 | 42397.129
2023-03-08 | Amaral | Morrison |  | 9:56 | 14:41 | 583 | 588 | 468 | 396.5 | 3256.3 | 38509.4 | 396.5 | 3325.6 | 39755.5
2023-03-09 | Amaral | Morrison |  | 12:03 | 5:55 | 588 | 594 | 468 | 396.5 | 3239.5 | 38383.9 | 396.5 | 3370.2 | 41575.5
2023-03-10 | Amaral | Morrison |  | 9:26 | 15:00 | 594 | 599 | 468 | 396.5 | 3294.9 | 38771.9 | 396.5 | 3470.6 | 45602.5 | Files were not saving software problem maybe
2023-03-13 | Amaral | Morrison |  | 9:06 | 19:18 | 600 | 609 | 468 | 396.5 | 3241.9 | 37986.2 | 396.5 | 3270.8 | 39360.8
2023-03-24 | Amaral | Morrison |  | 9:15 |  | 609 | 615 | 468 | 396.5 | 3308.6 | 38997.9 | 396.5 | 3366.7 | 40654.6 | Software version was updated. At RSU it is not giving the option to load the lamp scans settings. You will have to enter it manually:
2023-03-31 | Chappel | Morrison |  | 9:13 | 11:58 | 615 | 618 | 468 | 396.5 | 3322.4 | 38761.2 | 396.5 | 3309.9 | 39922.6 | Integration time=10
2023-04-03 | Goeckner | Reisinger | Schreiber | 13:00 | 16:14 | 618 | 622 | 468 | 396.5 | 3285.4 | 38383.4 | 396.5 | 3455.2 | 44869.3 | Increment tab: 2.33nm (4pixel)
2023-04-07 | Amaral | Morrison |  | 9:15 | 18:30 | 622 | 630 | 468 | 396.5 | 3262.8 | 38389 | 396.5 | 3311.4 | 39514.6 | CCD Gain: Medium |  | Sample selection =tab position 1
2023-04-21 | Taylor | Resinger |  | 11:15 | 17:30 | 630 | 636 | 468 | 396.5 | 3290.2112 | 38812.809 | 396.5 | 3345.6028 | 39863.477
2023-05-01 | Goeckner | Reisinger | Schreiber | 10:30 |  | 636 | 637 | [7 empty] | Some icons were grayed-out and couldn’t be selected. Restarted Aqualog and computer/software but wasn’t able to fix the issue
2023-05-02 | Taylor | Reisinger |  | 10:53 | 6:18 | 638 | 645 | 468 | 396.5 | 3302.3892 | 38979.235 | 396.5 | 3296.6376 | 38817.815 | checked S/N calibration using angel tears
2023-05-03 | Taylor | Resinger |  | 10:19 | 7:09 | 645 | 654 | 468 | 396.5 | 3285.557 | 38989.902 | 396.5 | 3371.6214 | 39988.298
2023-05-04 | Amaral | Morrison |  | 12:00 | 16:14 | 654 | 658 | 468 | 396.5 | 3330.8 | 39179.3 | 396.5 | 3358.2 | 39483
2023-05-16 | Howley | Cohen |  | 11:00 | 13:00 | 658 | 661 | 467.9 | 396.5 | 3240.79 | 38143.1 | 396.5 | 3262.7 | 38984
2023-05-18 | Amaral | Morrison |  | 13:45 | 16:25 | 661 | 663 | 468 | 396.5 | 3260.3 | 38503.9 | 396.5 | 3302.6 | 39077.9
2023-05-19 | Howley | Cohen |  | 8:30 | 11:30 | 663 | 666 | 468 | 397 | 3238.9 | 38989.902 | 396.5 | 3269.3 | 39028.6
2023-06-07 | Howley | Cohen |  | 11:00 | 14:00 | 666 | 670 | 468.5 | 396.5 | 3206.5 | 37944 | 396.5 | 3380.8 | 44597
2023-06-07 | Amaral | Morrison |  | 14:30 | 16:02 | 670 | 672 | 468 | 396.5 | 3292.2293 | 38695.093 | 396.5 | 3373.8949 | 41171.241
2023-06-15 | Amaral | Morrison |  | 14:03 | 17:42 | 672 | 675 | 468 | 396.5 | 3257.7 | 38373.9 | 396.5 | 3281.9 | 39007.972
2023-06-29 | Lee | Morrison |  | 10:00 | 17:45 | 675 | 682 | 468 | 396.5 | 3197.7491 | 37322.6 | 396.5 | 3214.1831 | 38165.675
2023-07-07 | Lee | Morrison |  | 16:00 | 17:30 | 683 | 684 | 468 | 397 | 3193.7498 | 37828.889 | 397 | 3193.7498 | 37828.889
2023-07-14 | Scharping | Morrison |  | 13:05 | 17:15 | 684 | 688 | 468 | 397 | 3173.3405 | 37521.847 | 396.5 | 3244.6009 | 38378.075
2023-07-18 | Lee | Morrison |  | 12:00 | 14:30 | 688 | 691 | 468 | 397 | 3220.2688 | 37979.369 | 397 | 3261.2346 | 38447.867
2023-07-21 | Scharping | Morrison |  | 12:10 | 16:25 | 691 | 695 | 468 | 397 | 3234.7952 | 38028.054 | 397 | 3264.7436 | 38665.793
2023-07-25 | Lee | Morrison |  | 14:20 | 16:11 | 695 | 697 | 468 | 397 | 3172.6503 | 37295.881 | 397 | 3192.5249 | 37653.044
2023-07-26 | Howley | Cohen |  | 10:30 | 14:11 | 697 | 701 | 467 | 395.6 | 3208.8 | 37764.5 | 367 | 3298.8 | 41953
2023-08-09 | LEE | MORRISON |  | 13:00 | 15:00 | 701 | 702 | 468 | 396.5 | 2981.4886 | 35224.294 | 397 | 2949.6878 | 35209.25
2023-08-18 | Scharping | Morrison |  | 11:24 | 14:53 | 702 | 706 | 468 | 397 | 2959.6762 | 35077.745 | 397 | 2959.2445 | 35079.109
2023-08-22 | Howley | Cohen |  | 10:43 | 12:49 | 706 | 708 | 668 | 397 | 2960 | 35024 | 397 | 3114 | 40973
2023-09-07 | Scharping | Morrison |  | 11:50 | 15:12 | 708 | 711 | 468 | 396.5 | 2954.3643 | 35176.666 | 397 | 2969.246 | 35458.354
2023-09-15 | Scharping | Morrison | Megan Sanford | 12:10 | 15:40 | 711 | 715 | 468 | 397 | 2949.2141 | 34943.232 | 397 | 2979.1866 | 35435.538
| Shin | Cohen |  | 10:10 | 13:00 | 715 | 715 | 468 | 397 | 3134.1613 | 39732.782 | 397 | 3053.2311 | 36033.576
2023-10-04 | Shin | Cohen |  | 10:15 |  | 717 | 719 | 468 | 397 | 3130.2704 | 39990.576 | 397 | 2998.0856 | 35522.452
2023-10-09 | Scharping | Morrison | Megan Sanford | 11:25 | 14:33 | 719 | 722 | 468 | 397 | 3116.1108 | 36576.531 | 396.5 | 3145.7112 | 37069.371
2023-10-12 | shin | cohen |  | 10:10 |  | 722 | 724 | 468 | 397 | 3247.6515 | 42987.257 | 397 | 3074.0976 | 36397.27
2023-10-20 | Howley | Cohen |  | 9:30 | 13:00 | 724 | 727 | 468 | 397 | 3145.3 | 37056 | 396.5 | 3391 | 47755
2023-11-15 | Howley | Cohen |  | 10:20 | 15:30 | 727 | 732 | 468 | 397 | 3157 | 37222 | 397 | 3175 | 38450
2023-11-20 | Howley | Cohen | Gorora, Shrestha | 10:10 | 15:44 | 732 | 738 | 467.9 | 397 | 3178 | 37542.2 | 397 | 3233.7 | 38928.4
2024-01-09 | Shrestha | Cohen | Howley | 9:18 | 11:10 | 738 | 740 | 468 | 397 | 3190.7 | 37556.99 | 397 | 3319.88 | 43185.26
1/11/2-24 | Goeckner | Reisinger | Schreiber | 10:30 | 15:52 | 740 | 745 | 467.9 | 397 | 3240 | 38191 | 397 | 3268.2001 | 39627
| Shrestha | cohen | Howley | 9:17 | 3:00 | 745 | 751 | 468 | 397 | 9805.55 | 114869.2 | 397 | 9753.05 | 114948.86
2024-01-19 | Scharping | Morrison | Sanford | 11:30 | 15:07 | 751 | 755 | 468 | 397 | 3249.8696 | 37912.774 | 397 | 3220.9486 | 37992.912
2024-01-23 | Howley | Cohen | Aragon, Shrestha | 9:00 | 12:10 | 755 | 758 | 468 | 397 | 9711 | 114197 | 397 | 9774 | 117347
2024-01-24 | Shrestha | Cohen |  | 9:00 | 2:00 | 758 | 763 | 468 | 397 | 9775.63 | 115561 | 396.5 | 3283 | 40263
1302024 | Chen | Reisinger | Howley, Bliss | 9:45 | 18:09 | 763 | 771 | 468 | 397 | 9781 | 114702 | 397 | 9732 | 115503
| Aragon | Cohen | Howley | 9:00 | 11:55 | 772 | 775 | 468 | 397 | 9709.4 | 114445.19 | 397 | 3265.5 | 41411.1
2024-02-12 | Scharping | Morrison | Sanford | 10:45 | 14:45 | 774 | 778 | 468 | 397 | 3168.1281 | 37317.477 | 397 | 3198.903 | 37862.399
2024-02-13 | Aragon | Cohen | Howley | 9:00 | 10:48 | 778 | 780 | 468 | 397 | 3167.8 | 37409.4 | 397 | 3161.4 | 37615
2024-02-13 | Chen | Reisinger |  | 13:22 | 16:48 | 780 | 783 | 468 | 397 | 9706.3181 | 11421.85 | 397 | 9697.0293 | 114644.7
2024-02-16 | Bliss | Cohen |  | 12:50 | 6:15 | 784 | 789 | 468 | 397 | 3228.4 | 38047.6 | 397 | 3374.7 | 44889
2024-02-21 | Chen | Reisinger |  | 9:24 | 12:11 | 789 | 792 | 468 | 397 | 9588.8805 | 112269.47 | 396.5 | 9578.3453 | 112727.67
2024-02-22 | Shrestha | Cohen |  | 1:39 | 6:20 | 792 | 796 | 468 | 397 | 3259.24 | 38070.17 | 397 | 3273.8 | 39743.37
2024-02-27 | Lee | Morrison |  | 11:47 | 1:35 | 797 | 798 | 468 | 397 | 3188.3524 | 37466.772 | 397 | 3188.8215 | 37348.484
2024-02-27 | Aragon | Cohen |  | 13:45 | 18:32 | 799 | 803 | 468 | 397 | 3242.37 | 38116 | 397 | 3232.8 | 38649.84
2024-03-08 | Aragon | Cohen |  | 13:45 | 17:42 | 804 | 807 | 468 | 397 | 3120.8 | 36777.763 | 397 | 3155.28 | 38792.1
2024-03-11 | Scharping | Morrison | Sanford | 10:35 | 13:39 | 807 | 810 | 468 | 397 | 3129.9969 | 37035.503 | 397 | 3152.8234 | 37256.061
2024-03-21 | Bliss | Cohen |  | 9:20 | 11:45 | 810 | 813 | 468 | 397 | 3202.9 | 38508.4 | 397 | 3204.1 | 38018.2
2024-02-21 | Chen | Reisinger |  | 14:40 | 18:10 | 813 | 816 | 468 | 397 | 9579.493 | 112809.72 | 397 | 9633.4385 | 112940.83
2024-03-22 | Aragon | Cohen |  | 10:15 | 14:22 | 816 | 820 | 468 | 397 | 3176.4 | 37544.9 | 397 | 3205.5 | 38425.7
2024-03-27 | Aragon | Cohen |  | 16:00 | 19:21 | 820 | 823 | 468 | 397 | 3106.03 | 36784.2 | 397 | 3107.4 | 36994.2
2024-03-29 | Bliss | Cohen |  | 8:20 | 11:30 | 824 | 826 | 466 | 397 | 9609 | 113316.9 | 397 | 9643.4 | 113494.6